| Kit Part Number | Description |  | Storage Condition | Lot Number | Manufacture Date | Expiration Date |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| D03231 | nanoViS Nanoscale Sizing Standards |  | 2° to 8°C | 4894789 | 2025-08-14 | 2026-08-14 |  |  |  |
| Subcomponent |  | Sub Lot # | Mean Diameter1 (µm) | Diameter Specification (µm) | Diameter CV | Target Bead Concentration (% w/w) | Latex Bead Concentration (particles/mL) | Refractive Index2 | Appearance |
| nanoViS Low |  | 3043946 | N/A | N/A | N/A | N/A | N/A | 1.591 | Colorless suspension |
| 44nm |  |  | 0.040 | 0.040 – 0.048 | 11.5% | 0.98 x 10-6 | 2.78 x 108 | N/A |  |
| 80nm |  |  | 0.080 | 0.078 – 0.082 | 6.9% | 2.1 x 10-6 | 7.60 x 107 | N/A |  |
| 105nm |  |  | 0.108 | 0.102 – 0.108 | 5.2% | 1.8 x 10-6 | 2.97 x 107 | N/A |  |
| 144nm |  |  | 0.142 | 0.140 – 0.148 | 3.8% | 1.0 x 10-5 | 6.65 x 107 | N/A |  |
| nanoViS High |  | 3043947 | N/A | N/A | N/A | N/A | N/A | 1.591 | Colorless suspension |
| 144nm |  |  | 0.142 | 0.140 – 0.148 | 3.8% | 5.2 x 10-6 | 3.33 x 107 | N/A |  |
| 300nm |  |  | 0.304 | 0.285 – 0.315 | 4.9% | 2.4 x 10-5 | 1.57 x 107 | N/A |  |
| 600nm |  |  | 0.600 | 0.570 – 0.630 | 2.2% | 1.9 x 10-4 | 1.62 x 107 | N/A |  |
| 1000nm |  |  | 1.02 | 0.950 – 1.050 | 2.6% | 1.4 x 10-3 | 2.34 x 107 | N/A |  |

1Determined from transmission electron microscopy. Mean particle sizes are traceable to NIST standards.

2Evaluated at 590nm and 20°C.

# Certificate of Analysis

This Signature indicates that the above information is true and all quality specifications have been reviewed by a quality representative.

2025-08-18

Quality Signature	Date

Page 1 of 1

Beckman Coulter, Inc. 250 S. Kraemer Blvd. Brea, CA 92821, U.S.A.

+(1) 800-369-0333 www.beckman.com Email: ReagentSupport@Beckman.com